Title of IQ

Reason for this IQ new equipment Modification / repair Re-Location Others:

Approvals:

IQ Plan: Signature documents the approval of IQ Plan

|  | Name | Signature | Date |
| --- | --- | --- | --- |
| Author |  |  |  |
| Production |  |  |  |
| QA/RA |  |  |  |

IQ Report: Signature documents the review of results and the approval of IQ Report

|  | Name | Signature | Date |
| --- | --- | --- | --- |
| Author |  |  |  |
| Production |  |  |  |
| QA/RA |  |  |  |

Contents

1. Introduction	3

1.1 Description of equipment and location for installation	3

1.2 Referenced documents	3

2. Activities of IQ	4

2.1 Description of equipment	4

2.2 Manuals from supplier	5

2.3 Procedures and training	6

2.4 Accessories, tools and components	7

2.5 Supply systems and interfaces	8

2.6 Maintenance and cleaning	9

2.7 Drawings and spare parts	10

2.8 Instruments and calibration	11

2.9 Alarms and controls	12

2.10 Environmental conditions	13

2.11 Software	14

2.12 Functional testing	16

3. Results, events and failures	17

4. Summary of results	18

## 1. Introduction

This section must be completed prior to approval of IQ Plan

1.1 Description of equipment and location for installation Picture 1

| 1.2 Referenced documents | Document | Rev# / Status |
| --- | --- | --- |
|  | SOP Validation |  |

## 2. Activities of IQ

This section must be completed prior to approval of IQ Report.

## 2.1 Description of equipment

Description of activities: Verify if manufacturer and type is correct. Document the serial number. Verify if equipment is CE-marked.

| Acceptance Criteria | Evaluation |
| --- | --- |
| 1. Manufacturer: | yes | no |
| 2. Type: |  |  |
| 3. Serial number: | n/a |  |
| 4. CE-mark |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.2 Manuals from supplier

Description of activities: Verify if all manuals from the manufacturer/supplier are available and document the storage area.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | Yes | No |
| 1. Manuals from supplier are available Storage: |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.3 Procedures and training

Description of activities: Verify if all procedures (like work instructions, control plans, …) are available and trained.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | no |
| 1. xxx is available and trained. |  |  |
| 2. xxx is available and trained. |  |  |
| 3. xxx is available and trained. |  |  |
| 4. xxx is available and trained. |  |  |

Attachments: Training records

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.4 Accessories, tools and components

Description of activities: Verify if all accessories, tools and components were delivered and/or added to the work station as needed.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | no |
| 1. all accessories, tools and components were delivered and/or added to the work station, see attachments |  |  |
| 2. |  |  |

Attachments: List of accessories, tools and components

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.5 Supply systems and interfaces

Description of activities: Verify that all supplies needed are available and that the equipment was installed correctly.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | No |
| 1. Equipment was connected to electrical power supply: xxV/xxHz |  |  |
| 2. Equipment was connected to compressed air system ≥ xx bar |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.6 Maintenance and cleaning

Description of activities: Verify that requirements for maintenance were determined. Verify that requirements for cleaning were determined. Reference the relevant documents.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | No |
| 1. Maintenance instructions are defined, see xxx. |  |  |
| 2. Cleaning instructions are defined, see xxx. |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.7 Drawings and spare parts

Not required, see section 2

Description of activities: Verify that all drawings are collected and listed. Verify that the need for spare parts was determined.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | Ja | Nein |
| 1. Drawings are collected and listed, see attachments |  |  |
| 2. Spare parts and listed, see attachments |  |  |

Attachments: List of drawings and spare parts

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.8 Instruments and calibration

Description of activities: Verify that all instruments are present and calibrated. Verify that calibration labels were added and calibration dates are valid.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | Ja | Nein |
| 1. Instruments are present and calibrated. |  |  |
| 2. Calibration labels were added and calibration dates are valid. |  |  |

Attachments: List of all instruments, evidence of labeling with calibration stickers

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.9 Alarms and controls

Description of activities: Verify that all alarms and controls are present. Perform test on all alarms and controls.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | No |
| 1. Alarms and controls are present, see attachment |  |  |
| 2. The correct functioning of alarms and controls were tested, see attachments |  |  |

Attachments: List of alarms and controls

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.10 Environmental conditions

Description of activities: Verify if the supplier/manufacturer of the equipment specified environmental conditions (like temperatures, humidity, vibration, location …) and if those conditions are adhered to.

| Acceptance Criteria | Evaluation |
| --- | --- |
|  | yes | No |
| 1. Conditions are specified as ….. |  |  |
| 2. Conditions are adhered to |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 2.11 Software

Description of activities: Identify the hardware and software installed and their intended use. Verify if backup/reload was planned and/or completed.

Hardware:

| Activities | Results / Documentation |
| --- | --- |
| 1. Verify if the following software is installed: | yes | No | N/A |
|  | Remarks: |
| 2. is reloading / backup planned / completed? Location of software backup: | yes | No | N/A |
|  | Remarks: |
| 3. Intended use of software: |  |
| 4. Is an additional software validation needed? | yes | No | N/A |
|  | Justification: |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed: If additional software validation is needed, describe were this was done / will be done.

Executed by Date Signature

Approval: Date Signature

## 2.12 Functional testing

Description of activities: Verify, if equipment works correctly

| Acceptance Criteria | Evaluation |
| --- | --- |
| 1. Equipment works correctly and a test run was conducted as per ….. | Ja | Nein |
| 2. Further testing includes….. |  |  |

Attachments:

| Results: |  | accepted |  | Not accepted (describe actions needed below) |
| --- | --- | --- | --- | --- |

Remarks / actions needed:

Executed by Date Signature

Approval: Date Signature

## 3. Results, events and failures

This section must be completed prior to approval of IQ Report.

## 4. Summary of results

This section must be completed prior to approval of IQ Report.

| Activities | Results |
| --- | --- |
|  | passed | Not passed | n.a. |
| 2.1 Description of equipment |  |  |  |
| 2.2 Manuals from supplier |  |  |  |
| 2.3 Procedures and training |  |  |  |
| 2.4 Accessories, tools and components |  |  |  |
| 2.5 Supply system and interfaces |  |  |  |
| 2.6 Maintenance and cleaning |  |  |  |
| 2.7 Drawings and spare parts |  |  |  |
| 2.8 Instruments and calibration |  |  |  |
| 2.9 Alarms and controls |  |  |  |
| 2.10 Environmental conditions |  |  |  |
| 2.11 Software |  |  |  |
| 2.12 Functional testing |  |  |  |

Results are accepted, IQ is considered passed.

Results were not accepted and the following actions are required: