| Approvals | Name / Date / Signature |
| --- | --- |
|  | Risk Management Owner |
|  | R&D |
|  | QA/RA |
|  | Manufacturing |
|  | Medical |
|  | Sales / Marketing |

| Type of Risk Analysis | Hazard Analysis |
| --- | --- |
|  | System Level |
|  | Product Level |
|  | Process Level |

| Referenced Documents | Document number /version / Title |
| --- | --- |
|  | Risk Management Plan |
|  | Evaluation of PMS data |

| Intended Use | Describe the intended use of the system/product/process |
| --- | --- |

| Approach and Risk Acceptability criteria | This risk analysis was generated in accordance to SOP Risk Management. Roles, responsibilities, approval requirements are given in SOP Risk Management. A 2-dimensional risk evaluation approach was chosen as per SOP Risk Management, using Severity ratings (S) as per table 1 of SOP Risk Management Occurrence ratings (O) as per as per table 2 of SOP Risk Management Risk Acceptability criteria are given in table 3 of SOP Risk Management. |
| --- | --- |

| Definitions | AND OR Risk Control Measure Root Cause |
| --- | --- |

Risk Analysis, Control and Evaluation

.

| List of Risk Control Measures |
| --- |
| Number | Risk Control Measure | Reference | Note |

| Risks arising from Risk Control Measures | None of the risk control measures above generated an additional potential hazard. The following risk control measures stated above have generated additional potential hazards: |
| --- | --- |

| Conclusion | It is confirmed that there are no unacceptable risks and any risk in the ALARP region is reduced to a risk level that is as low as reasonably practicable. The residual risks are acceptable. Or There is/are risk(s) in the unacceptable regions and further risk control measure is required. |
| --- | --- |

# Text boxes

RCM 3

RCM 5

RCM 1

RCM 6

RCM 4

RCM 2

RCM 3

S=9, O=1

Risk = ALARP

S=9, O=1,

Risk = ALARP

Infection

(Severity 9)

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

Wrong cal-culation

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

S=9, O=1,

Risk = ALARP

S=9, O=2,

Risk = ALARP

Wrong position

Dosi-meter expired

Conta-minated material

Insuffi-cient hygiene

Potential for growth

Insufficient Review of Steri certs

Irradiation Dose below 25kGy

Bioburden >1000CFU

Contamination in process

False positive dosimeter